## Slide 1
H. Müller
U.C. Berkeley
Precision Atomic Tests of Physics Beyond the Standard Model

## Slide 2: The Era of precision uncertainty
CDMS
Planck
Precise data from astrophysics, but no hint what the dark sector consists of
W.M. Keck Observatory
Chandra
Loud and clear signals from the skies…. …but silence in our detectors
ATLAS
LHC

## Slide 3: Moore’s law in atomic physics

## Slide 4: The precision frontier
(Ultra-) light particles are easy to generate, but hard to see.
Collective forces from a large number of particles
Forces are the fundamental effect of light particles
Ultra-sensitive detectors required
10-55 gm
1024 gm
10-22 gm
(100 GeV)
boson
10-31 gm
boson/
fermion
(100 eV)
WIMPs
Surjeet Rajendran

## Slide 5: Advanced Cold Molecule Edm experiment (Yale, Harvard)
Figure: B. E. Sauer et al., NJP 19, 071001 (2017)

## Slide 6: Interferometry…
Light…
Matter …

## Slide 7: Light pulse atom interferometer
Particles / waves
Phase determined by Lagrangian, L=Ekin-Epot,
Laser wavelength as a ruler
X 300
X 300
X 300
Phase
Atom number
X 1000
Future?

## Slide 8: Recent applications

## Slide 9
Wikipedia
Dark Energy Scalar Fields
M. Jaffe, P. Haslinger, V. Xu, P. Hamilton, A. Upadhye, B. Elder, J. Khoury, and HM, Nature Physics, doi: 10.1038/nphys4189

## Slide 10
Attractive force from blackbody radiation
P. Haslinger, M. Jaffe, V. Xu, M. Sonnleithner, H. Ritsch, M. Ritsch & HM, Nature Physics 2017
Particle | 10-12 g
Cesium | 52
Rubidium | 63
Glass bead (n=1.4, r<<λ) | 5.4
85Rb-87Rb | 1.4
Acceleration from 1 K/m

## Slide 11: Fine structure constant

## Slide 12: The Fine Structure Constant
Measures the strength of the electromagnetic interaction
2014 CODATA

## Slide 13: The Fine Structure Constant
137 is…(https://primes.utm.edu/curios/page.php/137.html)
The numerical value of “Kaballah” (קַבָּלָה)
Genesis 25:17: “And these are the years of the life of Ishmael, an hundred and thirty and seven years. …” It is also the age of Moses father and Levi
The day before his inauguration, President Obama made a 137-mile train trip from Philadelphia to Washington, DC.
There are 137 Hawaiian islands, islets, and shoals
W. Pauli died in room 137 of Rotkreuz Hospital, Zurich.
WMAP’s age of the universe is 13.7 billion years
33rd prime number
The largest prime factor of 123456787654321
Karpov and Kasparov played 137 draws in chess
Chlorophyll (C55H72MgN4O5) consists of 137 atoms

## Slide 14
The most precise theory/experiment comparison in science
Fine structure constant Electron gyromagnetic moment
Dark photons shift magnetic moment versus fine structure constant
Measures how strong a magnet an electron is

## Slide 15: Alpha in Atom Recoil Frequency
Rydberg Constant
0.007 ppb P. J. Mohr et al., Rev. Mod. Phys. 80, 633 (2008).
Electron mass in atomic mass units u
0.43 ppb P. J. Mohr et al., Rev. Mod. Phys. 80, 633 (2008).
Determined by the atom recoil frequency
Cs mass in u
0.18ppb M. P. Bradley et al., Phys. Rev. Lett. 83, 4510 (1999).
Lowest : 0.23ppb
Cs D2 Transition 0.015ppb
Notes: Precise measurements and theoretical calculations of
the g-factor of the electron in hydrogenic 12C and in hy-
drogenic 16O lead to values of Ar(e)
Penning trap single ion mass spectrometry
comparing cyclotron frequencies of electrons and single C6+ ions
frequencies of optical spectral lines in atomic hydrogen and deuterium
measured directly by comparing the cyclotron
frequencies of an electron and fully-ionized carbon-12 (12C6+)

## Slide 16: Photon Recoil Measurement
ωr ~ 2π×2 kHz,
Accuracy 10-10
Need to pinpoint resonance to 0.2 μHz or 6x10-22
10,000 times better accuracy than precision of best clocks
Notes: In the simplest case, photon recoil measurement is a determination of the doppler shift of the atomic resonance caused by the mementum recoil of a simulated absorption or emission process. Consider a two level system metastable state a and b, the wl contain the phoon recoil term, unfortunately, it also include the doppler shift term from the initial velocity of the atoms. We can make a simple modefication. Let’s populate only 50% of the atoms , and scan the frequency of the pulse. We will see two resonance condition, one for state a the other one for state b. the differential measurement can easily take out the initinal velocity term.
However in these

## Slide 17
Ramsey-Bordé Interferometer
Atom-interferometer measurement of α
ωr
k
α
h/m

## Slide 18
Multi-Photon Bragg Diffraction
momentum
energy
Bragg gives you:
More photons transferred per pulse (higher sensitivity)
Atoms stay in same internal state (Zeeman, AC Stark systematics suppressed)
Detuning ~1000 Γ
Raman (n=1)
Bragg (n=5)
Notes: Accelerating each interferometer increase the phase
explain multi frequencies
Increase frequency splitting, reduces coupling
Maintain good contrast

## Slide 19
Simultaneous Conjugate Interferometers
Notes: Accelerating each interferometer increase the phase
explain multi frequencies
Increase frequency splitting, reduces coupling
Maintain good contrast

## Slide 20: Bloch Oscillations

## Slide 21
Setup
Notes: Accelerating each interferometer increase the phase
explain multi frequencies
Increase frequency splitting, reduces coupling
Maintain good contrast

## Slide 23
Fluorescence Traces
Time (ms)
Fluorescence (V)
N=0
N=25
N=50
N=125
N=200
Notes: 1. Fluorescence signals of the atom clouds as they fall through the detection region
2. Compromise: Higher BO intensity, deeper lattice, higher transfer efficiency, but lower contrast (single photon scattering, ac Stark effect).
3. Keep the ramp the same, higher N, duration of BO beam longer, higher single photon scattering and higher probability to fall out the lattice;
Bragg effective Rabi 32wr
Bloch Potential depth 6wr

## Slide 24
0.16 ppb systematic errors
Effect | Sect. | Value | δα/α (ppb)
Laser Frequency | 1 | N/A | -0.24 ± 0.03
Acceleration Gradient | 4A | =(2.13 ± 0.01)10-6/s2 | -1.69 ± 0.02
Gouy phase | 3 | w0=3.21±0.008 mm, z0=0.5±1.0 m | -3.60± 0.03
Wavefront Curvature | 12 | 〈r2〉1/2=0.58 mm | 0.15 ± 0.03
Beam Alignment | 5 | N/A | 0.05 ± 0.03
BO Light Shift | 6 | N/A | 0 ± 0.004
Density Shift | 7 | =106 atoms/cm3 | 0 ± 0.003
Index of Refraction | 8 | ncloud-1=3010-12 | 0 ± 0.03
Speckle Phase Shift | 4B | N/A | 0 ± 0.04
Sagnac Effect | 9 | N/A | 0 ± 0.001
Mod. Frequency Wavenumber | 10 | N/A | 0 ± 0.001
Thermal Motion of Atoms | 11 | N/A | 0 ± 0.08
Non-Gaussian Waveform | 13 | N/A | 0 ± 0.03
Parasitic Interferometers | 14 | N/A | 0 ± 0.03
Total Systematic Error |  |  | -5.33 ± 0.12
Total Statistical Error |  |  | ± 0.16
Electron Mass (18) |  | 5.4857990906710-4 u | ± 0.02
Cesium Mass (4,17) |  | 132.9054519615 u | ± 0.03
Big
‘New’
Notes: Accelerating each interferometer increase the phase
explain multi frequencies
Increase frequency splitting, reduces coupling
Maintain good contrast

## Slide 25: Speckle Phase
$200 Apodizing Filter
30 mrad anomaly  8 ppb at N=0
>10x suppression by mode filtering
25x suppression by N=125
Fiber doesn’t make Gaussian beams
Spatial Filtering via Apodizer + Fountain Alignment Monitor

## Slide 26: Systematic Checks
Variation of alpha w.r.t.:
  Bloch order
  Bloch power
  Contrast
  Detection region
  Pulse intensity: overall and pulse/pulse ratio
  Speckle phase
  ωm mixing (RF)
  ωm mixing (optics)
  Delay of interferometer sequence
  Bias B-field
  Single-photon detuning
  Data Analysis parameters (cuts, fitting, etc.)
  Fountain alignment (launch direction, no spatial filtering)

## Slide 27
Dark photons
Whatever the dark sector is made of, only three interactions are allowed by standard model symmetries
Vector portal “massive photon”
Higgs portal
Neutrino portal
Hints
Muon g-2
Proton radius puzzle?
8Be decay
Astrophysical hints?
  511 keV line
  keV gamma-ray excess
  Galactic center excess
“Arguably, the strongest experimental evidence for physics beyond the standard model”
(David Hertzog)
K. Hagiwara, A.D. Martin, Daisuke Nomura, T. Teubner

## Slide 28
Ongoing dark photon searches
Dave Schuster

## Slide 29: Results

## Slide 30: Results

## Slide 31
Dark photons are not compatible…

## Slide 32
…but axial vectors are.

## Slide 33
Future Upgrades
Broad beam
  x20 waist  1/400 beam-related systematics
  x1000 eff. power
Acoustic Shielded Room
  Controls gravity anomalies by keeping heavy objects out
Science Chamber
  Dark Matter studies

## Slide 34
A more nearly perfect laser beam
This project ~ 6 cm radius
Wavelength errors ~(λ/radius)2
400-fold higher accuracy
Beam splitter losses ~(λ/radius)4
higher momentum transfer, and thus sensitivity
Thick beam will unleash the potential of atom interferometry

## Slide 35: Thank you!
Fine Structure Constant
Postdoc:
Richard Parker
Grads:
Brian Estey,
Chenghui Yu
Weicheng Zhong
Undergrad: Joyce Kwan
Atom interferometry
Postdocs:
Philipp Haslinger,
Xuejian Wu
Grads:
Kayleigh Cassella,
Eric Copenhaver,
Jordan Dudley,
Matt Jaffe,
Zachary Pagel
Victoria Xu
Phase-Contrast TEM
Postdocs:
Sara Campbell
Osip Schwartz
Grad:
Jeremy Axelrod,
Faculty Alumni
Paul Hamilton (UCLA)
Mike Hohensee (LLNL)
Geena Kim (Regis)
Pei-Chen Kuan (NCKU)
Shau-Yu Lan (NTU)
Notes: 34 min at end

## Slide 36: Results

## Slide 37: Phase Extraction
x
t
Upper Fringe
Lower Fringe
Detect
Fluorescence [a.u.]
Time [ms]
a
b
c
d
Bin Data
Measured Frequency
Time

## Slide 38
T=5 ms
T=10 ms
T=20 ms
T=40 ms
T=60 ms
T=80 ms
n=5, N=125 Ellipses
Notes: Contrast decays with T.
New record for RB interferoemeter.