## Slide 1: LANSCE Beam Diagnostic Needs
John Smedley
Jen Bohon
Rod McCrady
UC Davis
UC Fees Diagnostics Program Kickoff
1/25/2020
LA-UR-20-20730

## Slide 2: Talk Outline
LANSCE overview
  Diamond diagnostic experience
Proton Beam Imaging
  SWIM
  Laser slicing for 3D beam imaging
X-ray spectrometer
Beam Halo/Electron cloud

## Slide 3: LANSCE accelerator overview
MW class proton accelerator and H- , 800 MeV
Proton Radiography, Neutron scattering and cross section, isotope production
Proton and Neutron beamlines for user projects
Operational in 1972!
Includes a proton storage ring (PSR)
Upgrade plans include high energy proton radiography and A Hard X-ray, variable pulse format Free Electron Laser
Notes: NNSA’s accelerator laboratory: make sure we know and achieve the hallmarks of our role: builders / designers; operators / maintainers / accelerator physicists

## Slide 4: ASET: 10-Year End State LANSCE Facility
201
805
PSR
CW
CW
H+
H-
DTL
IPF
CCL
100 MeV
pRad
UCN
To Area A
NSC
WNR
800 MeV
1mA
Existing System
Shield Wall Boundary

## Slide 5: ASET: 10-Year End State LANSCE Facility
201
805
PSR
CW
Keep Optional
H+
DTL
IPF
CCL
100 MeV – 300 MeV
pRad
UCN
To Area A
NSC
WNR
20 GeV Protons and 25 GeV e– to Area A
Phases 1 – 5 implemented
(1L High Power Version)
H-
H+
RFQ
RFQ
100 MeV
300 MeV
Operational as stand alone system
Updated Version
Shield Wall Boundary
805 Injector System
Phase 5: 25 GeV e– FEL Driver
  High Gradient C-Band System
    High shunt impedance
    Beta = 1
    Stacked above pRad Machine
    Waveguide switching to ”existing” C-band power
    Multi Hz, variable pulse format over 1 ms
800 MeV
1mA
25 GeV C-band e– linac FEL Driver stacked above proton linac
  FEL
    ~ 80 m undulator system in Area A
    >50 keV fully coherent ultrashort
    Building extension required for experimental hall
High brightness e– injector
805 linac
20 GeV protons
25 GeV electrons
Tunnel Cross Section

## Slide 6: Diamond work ongoing at LANSCE
Timing measurement reproduces LANSCE pulse structure
Lifetime measurement (100 years of therapeutic dose) – 20% reduction in efficiency after 10 years of dose
LANSCE ICT
Anticipate next beam opportunity in ~October

## Slide 7: Proton Beam Imaging
  Similar to X-ray beam imager
  x-y Pulse Mode (separation of 5 ns)
  Imaging mode In addition to general beam imaging, two unique applications
  In combination with a laser beam slicer which will photo-deionize H-, generate 3D beam images
  Submersible Wireless Monitor (SWIM)

## Slide 8: Isotope Production Facility at LANSCE
Beam pipe
Water-filled transfer tube
Target carrier
Hot cell
Chain drive mechanism
Presently:
Plastic film
 1 hour per measurement
Preferred:
Electronic
Seconds per measurement

## Slide 9: Isotope Production Facility at LANSCE
Beam pipe
Water-filled transfer tube
Target carrier
Hot cell
Chain drive mechanism
Submersible
Low maintenance
Wireless

## Slide 10: Ion chamber prototype
Helium
1 atm.
Variable bias
Horizontal
&
Vertical signals

## Slide 11: Ion chamber prototype
V = + 4 V
Horizontal
V = - 4 V
Vertical
Tested at pRad with 800 MeV proton beam

## Slide 12: Bremsstrahlung X-ray cutoff monitor
  Measure ~60 keV photons with 1% or better resolution
  Currently use cryo-cooled Ge
  Replacement without cryogens would be a big improvement
  Used to measure the electric field in the DTL gaps

## Slide 13: Beam halo and electron cloud monitor
  Goal to measure proton beam halo and electron cloud, and to discriminate electrons from protons. A variable bias on a retarding grid would allow electron cloud spectrum measurement. Each element would be a diamond imager to localize halo/cloud, and 4 such devices enable vertical and horizontal characterization.
Low energy e-
p & e-
p only

## Slide 14: Beam halo and electron cloud monitor
  Goal to measure proton beam halo and electron cloud, and to discriminate electrons from protons. A variable bias on a retarding grid would allow electron cloud spectrum measurement. Each element would be a diamond imager to localize halo/cloud, and 4 such devices enable vertical and horizontal characterization.

## Slide 15: PSR